## Sheet1
|  |  |  | Mass on tube (ng) | [5 empty] | Concentration in air (ug/m3)
[9 empty] | U (mL/min): | 0.67 | 0.52 | 0.46 | 0.46 | 0.46
Arrival Date | Sample time (days) | Temp (oC) | Description | benzene | toluene | ethylbenzene | xylene_mp | xylene_o | Notes | benzene | toluene | ethylbenzene | xylene_mp | xylene_o
2024-02-21 | 14 | 25 | Shakes sample | <LOD | 4.1 | <LOD | 1.1 | 1.1 |  | <LOD | 0.4 | <LOD | 0.1 | 0.1
2024-02-21 | 14 | 25 | Shakes duplicate | <LOD | 11.6 | 2.6 | 2.9 | 3.2 |  | <LOD | 1.1 | 0.3 | 0.3 | 0.3
2024-02-21 | 14 | 25 | Shakes blank | <LOD | 9 | 2.6 | <LOD | <LOD | Re-run due to leak failure | <LOD | 0.9 | 0.3 | <LOD | <LOD
2024-02-21 | 14 | 25 | MD Ave sample | 19.8 | 16.7 | 2.8 | 5.7 | 6.4 | Re-run due to leak failure | 1.5 | 1.6 | 0.3 | 0.6 | 0.7
2024-02-21 | 14 | 25 | MD Ave duplicate | <LOD | 20.1 | 6.7 | 8.6 | 9.9 | Re-run due to leak failure | <LOD | 1.9 | 0.7 | 0.9 | 1.1
2024-02-21 | 14 | 25 | MD ave blank | <LOD | 46.8 | <LOD | <LOD | <LOD |  | <LOD | 4.5 | <LOD | <LOD | <LOD
2024-05-22 | 14 | 25 | Shakes sample | 16.3 | 108.1 | 31.9 | 5.1 | 6.9 |  | 1.2 | 10.3 | 3.4 | 0.6 | 0.7
2024-05-22 | 14 | 25 | Shakes duplicate | 16.6 | 140 | 48.4 | 5.3 | 8.8 |  | 1.2 | 13.4 | 5.2 | 0.6 | 1
2024-05-22 | 14 | 25 | Shakes blank | 7.6 | 175.2 | 87.2 | 2.3 | 9 |  | 0.6 | 16.7 | 9.4 | 0.3 | 1
2024-05-22 | 14 | 25 | MD Ave sample | 11 | 137.4 | 53.6 | 3.4 | 6.8 |  | 0.8 | 13.1 | 5.8 | 0.4 | 0.7
2024-05-22 | 14 | 25 | MD Ave duplicate | 15.7 | 108.6 | 56.4 | 3.8 | 6.6 |  | 1.2 | 10.4 | 6.1 | 0.4 | 0.7
2024-05-22 | 14 | 25 | MD ave blank | 4.2 | 78.6 | 26.7 | 2 | 4.4 |  | 0.3 | 7.5 | 2.9 | 0.2 | 0.5
2024-10-23 | 14 | 25 | Shakes sample | 17.9 | 75.6 | 7.3 | 9.1 | 5.9 |  | 1.3 | 7.2 | 0.8 | 1 | 0.6
2024-10-23 | 14 | 25 | Shakes duplicate | 11.5 | 66.8 | 3.9 | 3.9 | 2.1 |  | 0.8 | 6.4 | 0.4 | 0.4 | 0.2
2024-10-23 | 14 | 25 | Shakes blank | <LOD | 53.7 | <LOD | <LOD | <LOD |  | <LOD | 5.1 | <LOD | <LOD | <LOD
2024-10-23 | 14 | 25 | MD Ave sample | <LOD | 27.1 | 2.7 | 4.5 | 2.9 | Benzene signal is basically non-existant, could be an analytical issue, but not sure why this would be | <LOD | 2.6 | 0.3 | 0.5 | 0.3
2024-10-23 | 14 | 25 | MD Ave duplicate | 14.3 | 44.6 | 5.5 | 7.9 | 5.1 |  | 1.1 | 4.3 | 0.6 | 0.9 | 0.6
2024-10-23 | 14 | 25 | MD ave blank | <LOD | 26.1 | <LOD | <LOD | <LOD |  | <LOD | 2.5 | <LOD | <LOD | <LOD